## 1 ห้องเรียนมัธยม
Secondary classroom additional Renovation Job List
Item | Description | Model | Q'ty | Unit | Unit price | Labour cost | Total | Remark
Item 1 Installation de chantier / demolition
| Demolish the existing |  | 1 | Job | 0 |  | 0
| Site cleaning |  | 1 | Job | 0 |  | 0
| Sub-total | [5 empty] | 0
Item 2 Electrical job
| Install ceiling lights | LUSO รุ่น RSTP600/236 | 6 | Sets |  |  | 0
| Air cond. | VSD type 36,000 BTHh | 2 | Sets |  |  | 0
| Install exhaust fan | Panasonics FV-24CHRVT1 | 1 | Sets |  |  | 0
| Install electric switches | Panasonic or BTicino | 2 | Sets |  |  | 0
| Install receptacle | Panasonic or BTicino | 5 | Sets |  |  | 0
| LAN outlet | CAT5 | 1 | Sets |  |  | 0
| Electrical consumer box | Square D | 1 | Sets |  |  | 0
| Main electrical witr connection from DB |  | 1 | Sets |  |  | 0
| Miscellaneous | Electrical cable, Conduit | 1 | Lot |  |  | 0
| Sub-total | [5 empty] | 0
Item 3 Menuiserie / Construction
| Open the wall to be the new entrance door | Between the existing corridor | 1 | Job |  |  | 0
| Installation of doors | Laminated glass, double swing door - uPVC frame | 1 | Sets |  |  | 0 | 1,800W x 2,000H mm.
| Acoustic ceiling tiles | Acoustic ceiling tiles 16 mm. thk. | 36 | sq.m. |  |  | 0
| T-Bar hanger | Powder coated surface | 1 | Lot |  |  | 0
| Floor tiles | Granito tile size 300 x 300 mm. | 36 | sq.m. |  |  | 0 | Option 1
| Skirt tile | Granitto tile 20 cm. high | 24 | meter |  |  | 0 | Option 1
| Floor tiles | Gerflor | 36 | sq.m. |  |  | 0 | Option 2
| Skirt tile | PVC | 24 | meter |  |  | 0 | Option 2
| Miscellaneous |  | 1 | Lot |  |  | 0
| Sub-total | [5 empty] | 0
Item 4 Painting
| Interior painting | The details in TOR | 72 | sq.m |  |  | 0
| Miscellaneous |  | 1 |  |  |  | 0
| Sub-total | [5 empty] | 0

## 2 ห้องเก็บของมัธยม
Secondary Storage room Renovation Job List
Item | Description | Model | Q'ty | Unit | Unit price | Labour cost | Total | Remark
Item 1 Installation de chantier / demolition
| Demolish the existing |  | 1 | Job | 0 |  | 0
| Site cleaning |  | 1 | Job | 0 |  | 0
| Sub-total | [5 empty] | 0
Item 2 Electrical job
| Install ceiling lights | LUSO รุ่น SST175 | 4 | Sets |  |  | 0
| Air cond. | VSD type 18,000 BTHh | 1 | Sets |  |  | 0
| Install electric switches | Panasonic or BTicino | 2 | Sets |  |  | 0
| Install receptacle | Panasonic or BTicino | 4 | Sets |  |  | 0
| Electrical consumer box | Square D | 1 | Sets |  |  | 0
| Relocate the fire alarm sensor to the ceiling |  | 1 | Job |  |  | 0
| Miscellaneous | Electrical cable, Conduit | 1 | Lot |  |  | 0
| Sub-total | [5 empty] | 0
Item 3 Menuiserie / Construction
| Break out the existing toilet wall then plastering |  | 1 | Job |  |  | 0 | 1,800W x 2,000H mm.
| Demolish the existing washing basin and toilet accessories |  | 1 | Job |  |  | 0
| Construct the washing area 1.5 x 1.5 meter | Included floor tiling | 1 | Job |  |  | 0
| Demolish the existing toilet entrance door then close both |  | 1 | Job |  |  | 0
| Open new entrance door between corridor | Close new opening by the old toilet door | 1 | Job |  |  | 0
| Open new entrance door behind the building |  | 1 | Job |  |  | 0
| Install new uPVC door size 1,800W x 2,000H |  | 1 | Set |  |  | 0
| Demolish the existing ceiling |  | 1 | Job |  |  | 0
| Install the new floor with new piles at parcel loading area outside | 2.7W x 4.5L meter | 1 | Job |  |  | 0 | Included floor topping
| Install new roof and steel structure at new parcel loading area | 5.0W x 6.0L meter | 1 | Job |  |  | 0
| Miscellaneous |  | 1 | Lot |  |  | 0
| Sub-total | [5 empty] | 0
Item 4 Painting
| Interior painting | The details in TOR | 54 | sq.m |  |  | 0
| Interior painting | The details in TOR | 60 | sq.m |  |  | 0
| Miscellaneous |  | 1 |  |  |  | 0
| Sub-total | [5 empty] | 0

## 3 ห้องเก็บของประถม
Primary toilet single-storied Renovation Job List
Item | Description | Model | Q'ty | Unit | Unit price | Labour cost | Total | Remark
Item 1 Installation de chantier / demolition
| Demolish the existing |  | 1 | Job | 0 |  | 0
| Site cleaning |  | 1 | Job | 0 |  | 0
| Sub-total | [5 empty] | 0
Item 2 Sanitaires
| Support hangers for piping |  | 1 | Lot |  |  | 0
| Raccordements | PPR PN20 | 1 | Lot |  |  | 0
| Accessories (valves, etc.) |  | 1 | Lot |  |  | 0
| Floor drain | KA-55-832-STตะแกรงกันกลิ่น 2.5-4 นิ้ว | 4 | Sets |  |  | 0
| Toilet bowl | COTTO model C11000 | 12 | Sets |  |  | 0
| Urinals | COTTO model C31217 | 4 | Sets |  |  | 0
| Urinals flush valve | AMERICAN STANDARD รุ่น FFAS9802-009500BT0 | 4 | Sets |  |  | 0
| Bidel cleaner | HANG 5 model SS-05CR | 12 | Sets |  |  | 0
| Tissue dispenser | AQUARIUS | 12 | Sets |  |  | 0
| Washing basin counter | Marble | 2 | Sets |  |  | 0
| Washing basin | American Standard model TF-0948/0742-WT-0 | 8 | Sets |  |  | 0
| Flucet | MARINA CT169(HM) | 8 | Sets |  |  | 0
| Washing basin mirror | Individual with washing basin | 8 | Sets |  |  | 0 | Option 1
| Washing basin mirror | One piece that the size same as the counter length | 2 | Sets |  |  | 0 | Option 1
| Liquid soap dispenser |  | 6 | Sets |  |  | 0
| Miscellaneous |  | 1 | Lot |  |  | 0
| Sub-total | [5 empty] | 0
Item 3 Electrical job
| Install ceiling lights | LED LAMPTAN ALTRA SLIM PC 18 วัตต์ WARMWHITE 8 นิ้ว | 20 | Sets |  |  | 0
| Install mirror lights | LED fluorescent with lighting prismatics lighting fixture | 8 | Sets |  |  | 0
| Install exhaust fan | Panasonics FV-24CHRVT1 | 2 | Sets |  |  | 0
| Install electric switches | Panasonic or BTicino | 2 | Sets |  |  | 0
| Install receptacle | Panasonic or BTicino | 2 | Sets |  |  | 0
| Miscellaneous | Electrical cable, Conduit | 1 | Lot |  |  | 0
| Sub-total | [5 empty] | 0
Item 4 Menuiserie / Construction
| Installation of doors | PU door installed with the frame | 2 | Sets |  |  | 0 | Wide 90 cm.
| Installation of toilet partitions and doors | Laminated WILLY 30 MFF WILLY Serie 61 | 12 | Rooms |  |  | 0
| Floor tile | LONDON OLIVE (YR5037C) 60X60 *A | 44 | sq.m. |  |  | 0
| Wall tile | NEW VOLAKAS (T1-36P1083A) 30X60*A | 208 | sq.m. |  |  | 0
| Skirt tile | BELLINI NEGRO 7.5X30 *A | 42 | meter |  |  | 0
| Ceiling | Repair and painting | 2 | Jobs |  |  | 0
| Windows | Aluminium frame and glass window push out | 4 | Sets |  |  | 0 | Option 1
| Windows | Aluminium frame with louver | 4 | Sets |  |  | 0 | Option 2
| Safety grab bar for disabled toilet | Stainless Steel | 2 | Sets |  |  | 0
| Miscellaneous |  | 1 | Lot |  |  | 0
| Sub-total | [5 empty] | 0
Item 5 Painting
| Interior painting | สีทาฝ้าเพดาน DURACLEAN A PLUS#D888 | 44 | sq.m |  |  | 0
| Outdoor painting | สีน้ำ SUPER SHIELD ADVANCE SG#A | 40 | sq.m. |  |  | 0
| Miscellaneous |  | 1 |  |  |  | 0
| Sub-total | [5 empty] | 0